## Slide 1
Solar information Session

## Slide 2
1. Who we are
2. How we got started
Overview

## Slide 3
Who We Are
We are a network of people taking control of our energy by installing solar and generating our own electricity.

## Slide 4
Started in 2007 and it wasn’t easy!
How We Got Started

## Slide 5: It was harder than we thought!
How We Got Started
Notes: There were only two companies working in DC. They told us totally different things about how to install PV on our roof, and then there were the issues of Cost, equipment, taxes, regulations, rules, permits, meters, billing, historic association, SRECs, PSC

## Slide 6
Helping Communities Go Solar

## Slide 8
Solar technology
How solar co-ops work
Solar economics
Presentation in Three Parts

## Slide 9
Part 1: Solar technology

## Slide 10
Part 1: Solar Technology
How does a solar panel work?
Solar photovoltaic (PV)
Converts solar energy to electricity

## Slide 11
System components: Panels
Cell
Panel / Module
Solar Array
Part 1: Solar Technology

## Slide 12
System components:
Inverter & Racking
Racking system
Inverter
Part 1: Solar Technology

## Slide 13
Terminology: Kilowatts (kW) & Kilowatt-hours (kWh)
System measured in kW
Electricity production in kWh
Most homeowners install between 2 kW – 12 kW
Part 1: Solar Technology

## Slide 14
How does solar connect to my roof?
Part 1: Solar Technology
Source: Huffington Post

## Slide 15
Part 1: Solar Technology

## Slide 16
Part 1: Solar Technology

## Slide 17
How does it connect to my electrical panel?
Simple connection, most home electric systems don’t need upgrades before solar
Part 1: Solar Technology

## Slide 18
What makes a site good for solar?
Roof faces southerly direction
No shading
Enough space to mount panels
Part 1: Solar Technology

## Slide 19
How a solar PV system works (grid tied)
Via wattpatrol.com
Part 1: Solar Technology

## Slide 20
Part 1: Solar Technology
What is net metering?
Allows flow of electricity to AND from customer
When generation is more than use, extra electricity flows back through meter
  You receive a credit on your power bill for that excess production

## Slide 21
Net metering, continued
Monthly electric bill:
  [Amount electricity used] – [Amount electricity produced]
Utilities required by law to let you net meter
Part 1: Solar Technology

## Slide 22
What happens when the power goes out?
When grid is down, solar shuts off (safety mechanism)
Need batteries if you want you want power during outages
Part 1: Solar Technology

## Slide 23
Frequently asked questions
Warranties?
Homeowners’ insurance?
Maintenance?
How long do systems last?
Will HOA allow solar on my home?
What if I’m In a historic district?
Part 1: Solar Technology

## Slide 24
Part 2: How Solar Co-ops Work

## Slide 25
Solar co-op benefits
Get best value on installation and support throughout the process
Connect with fellow solar enthusiasts
Become part of the growing solar movement
Part 2: How Solar Co-ops Work
Peggi Ignagni’s install in Oberlin.

## Slide 26
Part 2: How Solar Co-ops Work

## Slide 27
Who picks the installer? Co-op members
Co-op participants select specific installer criteria including:
Price
Equipment quality
Warranties
Are a local company
Part 2: How Solar Co-ops Work

## Slide 28
Part 3: Solar Economics

## Slide 29
A few considerations
Solar is priced by the watt (not by panel)
  $9000 / 3000 Watts (i.e. 3kW) = $3/Watt
Solar is long-term
  No moving parts & 20-25 year lifespan
Average residential electricity rate
Rising energy prices
  increased value for your solar array
Part 3: Solar Economics

## Slide 30
Solar is increasingly affordable
Costs have dropped 90% since the 1970s
Solar is no longer a specialty, expensive, or boutique project
But, can still be daunting to tackle
1970’s 2013
Part 3: Solar Economics

## Slide 31
Monthly purchase of solar kWh
Chart: 
| 1 | 5 | 10 | 15 | 20
Without Solar | 1152 | 5995.0543 | 12614.0786 | 19922.0163 | 27990.57
With Solar | 866 | 4391.1588 | 8956.5755 | 13734.7603 | 18768.754
One time purchase of solar array
Chart: 
| 1 | 5 | 10 | 15 | 20
Without Solar | 1152 | 5995.0543 | 12614.0786 | 19922.0163 | 27990.57
With Solar | 8091 | 9048.4967 | 10475.8924 | 12193.7263 | 14243.1165
Electricity costs example over 20 years
years
years
Part 3: Solar Economics

## Slide 32
Financing
Loans
  Standard loans
  Solar loans & bridge loans
  HELOC
Part 3: Solar Economics

## Slide 33
What’s Next?

## Slide 34
NEW URL
Join the CO-OP NAME
Join the listerv
Spread the word
What’s Next?

## Slide 35
Useful Resource

## Slide 36
Thank You!
PRESENTER NAME
Solar United Neighbors of Ohio