## Slide 1
Solar 101

## Slide 2
1. Who we are
2. How we got started
Overview

## Slide 3
Who we are
We are a network of people taking control of our energy by installing solar and generating our own electricity.

## Slide 4: It was harder than we thought!
How we got started
Started in 2007 and it wasn’t easy!
Notes: There were only two companies working in DC. They told us totally different things about how to install PV on our roof, and then there were the issues of Cost, equipment, taxes, regulations, rules, permits, meters, billing, historic association, SRECs, PSC

## Slide 5
Helping communities go solar

## Slide 7
Solar technology
Solar economics
How solar co-ops work
Presentation in three parts

## Slide 8
Part 1: Solar technology

## Slide 9
Part 1: Solar technology
Solar photovoltaic (PV)
Converts solar energy to electricity
Solar thermal / solar hot water
Uses solar energy to heat air or water

## Slide 10
How a solar PV system works (grid tied)
Via wattpatrol.com
Part 1: Solar technology

## Slide 11
System components: Panels
Cell
Panel / module
Solar array
Part 1: Solar technology

## Slide 12
Terminology: Kilowatts (kW) & kilowatt-hours (kWh)
System measured in kW
Electricity production in kWh
Most homeowners install between 2 kW – 12 kW
Part 1: Solar technology

## Slide 13
System components:
Inverter & racking
Racking system
Inverter
Part 1: Solar technology

## Slide 14
How does solar connect to my roof?
Part 1: Solar technology

## Slide 15
Part 1: Solar technology

## Slide 16
How does it connect to my electrical panel?
Simple connection, most home electric systems don’t need upgrades before solar
Part 1: Solar technology

## Slide 17
What makes a site good for solar?
Roof faces southerly direction
No shading
Enough space to mount panels
Part 1: Solar technology

## Slide 18
How a solar PV system works (grid tied)
Via wattpatrol.com
Part 1: Solar technology

## Slide 19
Part 1: Solar technology
What is net metering?
Allows flow of electricity to AND from customer
When generation is more than use, extra electricity flows back through meter
  You receive a credit on your power bill for that excess production

## Slide 20
Net metering, continued
Monthly electric bill:
  [Amount electricity used] – [Amount electricity produced]
Utilities required by law to let you net meter
Part 1: Solar technology

## Slide 21
What happens when the power goes out?
When grid is down, solar shuts off (safety mechanism)
Need batteries if you want you want power during outages
Part 1: Solar technology

## Slide 22
Frequently asked questions
Warranties?
Homeowners’ insurance?
Maintenance?
How long do systems last?
Will HOA allow solar on my home?
What if I’m In a historic district?
Part 1: Solar technology

## Slide 23
Part 2: Solar economics

## Slide 24
A few considerations
Solar is long-term
  No moving parts & 20-25 year lifespan
Average residential utility rate
Rising energy prices
  Dominion: 20% rate increase in last seven years
Part 2: Solar economics

## Slide 25
Pricing and investment
Solar is priced by the watt (not by panel)
Average 9 – 13 year return on investment in Virginia
  Depends on site and pricing
Part 2: Solar economics

## Slide 26
Solar is increasingly affordable
Costs have dropped 90% since the 1970s
Solar is no longer a specialty, expensive, or boutique project
But, can still be daunting to tackle
1970’s 2013
Part 2: Solar economics

## Slide 27
Part 2: Solar economics

## Slide 28
Financing
Loans
Standard loans
Solar loans & bridge loans
Third party ownership
Leases
Part 3: Solar economics

## Slide 29
Part 3: How solar co-ops work

## Slide 30
Solar co-op benefits
Get best value on installation and support throughout the process
Connect with fellow solar enthusiasts
Become part of the growing solar movement
Part 3: How solar co-ops work

## Slide 31
Insert new timeline graphic
Part 2: How Solar Co-ops Work

## Slide 32
Who can join?
Homeowners
Businesses
Nonprofits
Farms
Part 3: How solar co-ops work

## Slide 33
What’s next?

## Slide 34
Useful Resource

## Slide 35
Visit our website!
SolarUnitedNeighbors.org
Join the listerv
Spread the word
What’s next?

## Slide 36
Upper Piedmont Solar Co-op
SolarUnitedNeighbors.org/UpperPiedmont
Winchester, Loudoun, Fauquier, Clarke, Warren, Frederick, & Rappahannock Counties
Sign up deadline: October 31

## Slide 37
Three Rivers Solar Co-op
SolarUnitedNeighbors.org/ThreeRivers

## Slide 38
Become a member!
Go solar on your own
We’ll review your proposals
Access to our Solar Help Desk
solarunitedneighbors.org/membership

## Slide 39
Thank You!
Ian Reichardt
Solar United Neighbors of Virginia